
EHS: COMPRESSED GAS SAFETY

1. Compressed Gas Safety_MB + MSH Comments

1.1 Compressed Gas Safety Training

[image: image1.jpg]Compressed Gas Safety
Training




Notes:

Clip #1

Hello! Welcome Compressed Gas Safety Training. Here you will learn how to safely use and handle compressed gases. 
1.2 Objectives

[image: image2.jpg]Learning Objectives

« Risk/hazards of compressed gases
+ Safe and proper labeling/handiing
« Storsgeanduse

+ Personal protective equipment

+ Controls, alarms and emergency response





Notes:

Clip #2

In this training, you will learn about the risk of compressed gases that could be present in the workplace, safe and proper labeling and handling of compressed gas cylinders and Dewars, storage and use of compressed gas cylinders, personal protective equipment or PPE required, and emergency procedures. 
1.3 Compressed Gas Definition

[image: image3.jpg]Compressed Gas Definition

« Agas or mixture of gases in a container

such as a cylinder at an absolute pressure
inexcess of 40 psi at 70° F (21.1°C) or in
excess of 104 psi at 130°F (54.4° C); or
heli
+ Aliquid having a vapor pressure
exceeding 40 psi at 100°F (37.8° C)

Some examples of compressed gases: m
tr





Notes:

Clip #3

A compressed gas is gas or mixture of gases in a container such as a cylinder at an absolute pressure in excess of 40 psi at 70° F or in excess of 104 psi at 130°F. A compressed gas can also be a liquid having a vapor pressure exceeding 40 psi at 100°F. 

Some examples of compressed gases include argon, carbon dioxide, acetylene, helium, hydrogen chlorine, oxygen, nitrogen and hydrogen. 
1.4 Compressed Gases in the Workplace

[image: image4.jpg]Compressed Gases in the Workplace

“Bum, destoy  lgnite when “Nonreactive,  sAutoignteand  eHesthhazards +Contributeto
tissue upon. miedwithairif  nonflammable,  spontaneously  thatcancause | combustionasa
contact. ignitionsource non-corrosive. combust injuryor death  source of
Corrods is present Can displace oxgen orasan
materisls oxgen causing oxiditing agent

asphyxiation

e G o - o e

<Ammonia (NH)  sMethane(cH)  *Helium (He) «Silane (5H) «Chiorine (C) «Nitrous Oxide

*Hydrogen eHydrogen (1) *AtBon (A1 «Arsine (AsH;) +Boron :0)

Chloride (HCI) «Acatylene «Nitrogen (Nyy el “Trichioride Oxygen (0,)

«Chloine (Ct) (cH et s «Compressedair

+Boron [y «Arsine (AsH)  *Chlorine (C)
Tichoride <Diborane 84)  *Diehorosiane
(8cty) «Phosphine (pHy) (iCLS)

+Phosghine (PH,)




Notes:

Clip 4: There are a wide variety of compressed gases that may be present on site. Compressed gases can be categorized by the following hazard classes: corrosive gases, flammable gases, inert gases, pyrophoric gases, toxic gases and oxidizing gases. As you can see, some gases, such as chlorine, can fit into multiple hazard classes. Before using any compressed gas in your job tasks, make sure you are familiar with the properties of the gas and hazards involved with its use. 

Clip 4.1: Corrosive gases can burn and destroy body tissues on contact and attack or corrode materials such as metals. Examples include: ammonia, hydrogen chloride and chlorine. 

Clip 4.2: Flammable gases may be ignited when mixed with air in certain concentrations in the presence of an ignition source. Flammable gases include: methane, hydrogen and acetylene. 

Clip 4.3: Inert gases are non-reactive, non-flammable and non-corrosive. Inert gases may displace oxygen and cause asphyxiation if the oxygen in the breathing air drops below 19.5 percent. Examples of inert gases include: helium, argon and nitrogen. 

Clip 4.4: Pyrophoric gases are gases with an auto-ignition temperature in air at or below 130° F or 54.4° C that may undergo spontaneous combustion, without the need for external ignition. Examples include: silane, arsine, disilane, dichlorosilane, diborane and phosphine. 

Clip 4.5: Toxic gases are health hazards that can cause serious injury or death. Examples include: chlorine, boron trichloride, arsine, dichlorosilane and phosphine. 

Clip 4.6: Oxidizing gases can contribute to combustion by acting as an oxygen source or oxidizing agent. Examples of oxidizing gases include: nitrous oxide (also known as laughing gas), oxygen and compressed air. 

Clip 4.7: You should always refer to the Safety Data Sheet or SDS to find the properties and critical safety information about chemicals including compressed gases before working with them. The link to the Safety Data Sheet can be found on the EHS Wiki or site safety @ page.

Clip 4.8: Let’s take a closer look at some hazardous compressed gases that you may find in your work environment. 
Corrosive Gases (Slide Layer)

[image: image5.jpg]Corrosive Gases

+Burn, destroy
tissue upon
contact.
Corrode
materials

€

«Ammonia (NH,)

«Hycrogen
Chloride (HCl)

«Chlorine (cl)

+Boron
Trichiorde
)





Flammable Gases (Slide Layer)

[image: image6.jpg]Flammable
Gases.

~lgnite when
mived with air it
ignition source:
is present

B

«Methane (CH)

«Hydrogen (H,)

*Acetylene.
(GHy)





Inert Gases (Slide Layer)

[image: image7.jpg]Inert Gases.

«Non-reactive,
non-flammable,

Can displace
oxygen causing
asphyxiat

e
«Helium (He)
«Argon (A7)
«Nirogen Ny





Pyrophoric Gases (Slide Layer)

[image: image8.jpg]Pyrophoric Gases

*Auto-gnite and
spontaneously
combust

«Silane (5H,)

«Dichlorosiane
(HCL50)

«Diborane (8,H)

«Phosphine (PH,)





Toxic Gases (Slide Layer)

[image: image9.jpg]Toric Gases.

«Heath hazards
that can cause
injury or death

e

«Chiorine (Cl)

+Boron
Trichloride
(8cty)

«Arsine (Ast)

«Dichlorosiane
(H,ClS)

«Phosphine (PH)





Oxidizing Gases (Slide Layer)

[image: image10.jpg]Oxidizing Gases

«Contribute to
combustion asa
source of
oxygen orasan
oxidizing agent

B

+Nitous Oxide
0

~Oxygen (0;)

« Compressed air

~Chloine ()





1.5 Chlorine (Cl2)

[image: image11.jpg]Chlorine (Cl) CCETEEEE

« Strong oxidizer

A DANG ER « Vapor density that is heavier than air
« Greenish - Yellow

* Odor described as ‘pungent’ and ‘irritating’

Chlorine gas.
Breathing gas will

Ith Hazards

oot d Loy « Toxic by inhalation

« Corrosive to eyes, skin and respiratory tract
« Acute exposure symptoms  effects may be delayed
“Respiratory tract, skin and eye burns
“Respiratory system effects
“Central nervous system effects
“Nausea
“Headache and dizziness





Notes:

Clip 5:

Chlorine gas is a strong oxidizer. It is also extremely toxic and corrosive. Chlorine gas can burn tissue on contact and if inhaled it can turn to hydrochloric acid in the lungs. Be aware of the acute exposure symptoms so you can recognize if you have been exposed during a leak. Symptoms include respiratory tract burns, skin burns, eye burns, respiratory system effects, central nervous system effects, nausea, headaches or dizziness. 

Chlorine has a vapor density that is heavier than air, so if a leak were to occur the gas would accumulate in greater concentrations at the floor level. 
1.6 Boron Trichloride (BCl3)

[image: image12.jpg]Boron Trichloride (BCls)

* Vapor density that is heavier than air
« Colorless
« Odor described as ‘pungent’

« Toxic by inhalation
« Corrosive to eyes, skin and respiratory tract
« Acute exposure symptoms

espiratory tract, skin and eye burns
“Respiratory system effects

“Hoarseness of voice

Bleeding of nose and gums

4Pain and irrtation

Redness and blstering

CITm.





Notes:

Clip 6:

Boron trichloride is highly corrosive and toxic by inhalation. Like chlorine, boron trichloride has a vapor density heavier than air. In the presence of moisture, boron trichloride can form hydrochloric acid and boric acid. 

Be aware of the acute exposure symptoms so you can recognize if you have been exposed during a leak. Symptoms include respiratory tract, skin and eye burns, respiratory system effects, hoarseness of voice, bleeding of nose and gums, pain, irritation, redness and blistering.

1.7 Silane (SiH4)

[image: image13.jpg]Slane(SiH) (N

* Extremely flammable and pyrophoric
* Reacts violently with oxidizers

« Vapor density that is heavier than air
« Colorless

« Odor described as ‘repulsive’

Health Hazards

« Primary health hazard is burns from flames
« Harmful if inhaled
* Acute exposure symptoms

“Skin and eye irritation





Notes:

Clip 7:

Silane is extremely flammable and pyrophoric. It can ignite spontaneously with air. Like chlorine and boron trichloride, silane has a vapor pressure heavier than air and will settle at the floor level. Silane is a colorless gas with a repulsive odor.

While silane gas is harmful if inhaled, the primary hazard is burns from flames created by the silane gas igniting. Acute exposure symptoms also include skin and eye irritation. 

1.8 Ammonia (NH3)

[image: image14.jpg]Ammonia (NH,)

hysical Characteristics

« Vapor density that is lighter than air
« Flammable in the presence of oxidizing materials
« Colorless

* Sharp and irritating odor

Health Hazard:

« Corrosive to eyes, skin and respiratory tract
« Harmful if inhaled
« Acute exposure symptoms
“Respiratory tract, skin and eye burns
“Respiratory system effects
“Pain, irritation, redness and blistering





Notes:

Clip 8:

Ammonia is a colorless, alkaline and very corrosive gas with a sharp irritating odor that has a vapor density lighter than air.

Ammonia is extremely corrosive and harmful if inhaled. Symptoms of acute exposure include severe respiratory tract, skin and eye burns, respiratory system effects, pain, irritation, redness and blistering.
1.9 Hydrogen (HCl)

[image: image15.jpg]Hydrogen (HC) [

* Extremely flammable

« Vapor density that is much lighter than
air

* Burns with almost invisible flame

* Gas is colorless and odorless

f Health Hazards —

* Primary health hazard is burns from
flames

* Simple asphyxiant





Notes:

Clip 9:

Hydrogen is extremely flammable; if hydrogen catches on fire, the flame will be pale blue and is almost invisible. Hydrogen’s vapor density is much lighter than air and the gas will rise if there is a leak. The gas is odorless and colorless. 

Like Silane, the primary hazard of Hydrogen is from burns when the gas is ignited. When airborne in high concentrations, hydrogen acts like a simple asphyxiant and displaces oxygen, which can lead to suffocation and death. 
1.10 Untitled Slide

[image: image16.jpg]ethre CH) - (T

* Extremely flammable
 Vapor density that is lighter than air
* Gas is colorless and odorless

g Health Hazards —

 Primary health hazard is burns from
flames

 Simple asphyxiant





Notes:

Clip 10:

Methane is extremely flammable and is lighter than air. Methane is colorless and odorless. Most people assume methane has a pungent odor like rotten eggs, but in fact, that odor comes from mercaptan, which is added to odorless methane as an odorant to allow the detection of gas leaks. 

Like some of the other gases we have covered, the primary hazard for methane is burns from the flames if the gas is ignited. Similar to hydrogen, methane can act as a simple asphyxiant displacing oxygen in breathing air which can lead to suffocation and death. 
1.11 Which of these gases is an inert gas?​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image17.jpg]Which of these gases is an inert gas?

St





	Correct
	Choice

	 
	A. Silane

	 
	B. Hydrogen

	 
	C. Methane

	X
	D. Argon


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 11: Now that we have covered what compressed gases are and the types of hazardous compressed gases, let’s check your understanding. Please answer the following questions. 

You are given 3 attempts to answer 80% of the questions correctly. 

Clip 11.1: Which of these gases is an inert gas?

Clip 11.2: That is correct. Argon is an inert gas​.  

Clip 11.3: That is incorrect, please try again. 

Clip 11.4: That is incorrect, the correct answer is D, Argon. 
Correct (Slide Layer)

[image: image18.jpg]Which of th ic an inart

() Asilang @

() B.Hydr G

O et That's right! You selected the correct response.
@) D.Argo Continue





Incorrect (Slide Layer)

[image: image19.jpg]Which of th ic an inart

() Asilang ®

) 8 Hyer Incorrect

O et You did not select the correct response.
@) D.Argo Continue





Try Again (Slide Layer)

[image: image20.jpg]Which of th ic an inart

() Asilang ®

) 8 Hyer Incorrect

O c et That is incorrect. Please try again.
et

@) D.Argo Try Again





1.12 Which of the following compressed gases is the most flammable and pyrophoric?​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image21.jpg]Which of the following compressed gases is the most flammable and
pyrophoric?

() cBoron Trichloride

©) o.Ammonia





	Correct
	Choice

	 
	A. Chlorine


	X
	B. Silane

	 
	C. Boron Trichloride

	 
	D. Ammonia


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 12: Which of the following compressed gases is the most flammable and pyrophoric?​
Clip 12.1: That is correct. Silane is extremely flammable and pyrophoric. 

Clip 12.2: That is incorrect, please try again. 

Clip 12.3: That is incorrect, the correct answer is B, Silane. 
Correct (Slide Layer)

[image: image22.jpg]Which of thafallowd = lath 71 le and
pyrophori @
() Achlor] oot

@) B.sitene That's right! You selected the correct response.

Continue





Incorrect (Slide Layer)

[image: image23.jpg]Which of thafallowd A feaiy " fond
pyrophori
(O Achlor| :

Incorrect.

(@ &silane You did not select the correct response.

C.Boror

Continue

() .Amm:





Try Again (Slide Layer)

[image: image24.jpg]Which of thafallawud = sk s le and
pyrophori ®
© .chior Bl
® 5 siane That is incorrect. Please try again.
O c.Boro
Try Again
© p.Amm





1.13 Which of these gases is lighter than air?​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image25.jpg]Which of these gases is lighter than air?

() cBoron Trichloride

() p.chlorine

St




	Correct
	Choice

	X
	A. Hydrogen


	 
	B. Silane

	 
	C. Boron Trichloride

	 
	D. Chlorine


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 13: Which of these gases is lighter than air?​

Clip 13.1: That is correct. Hydrogen is lighter than air.  

Clip 13.2: That is incorrect, please try again. 

Clip 13.3: That is incorrect, the correct answer is A, Hydrogen. 
Correct (Slide Layer)

[image: image26.jpg]Which of th isulaanzech

v

Correct

B.S 9
O ilane| That's right! You selected the correct response.

Continue





Incorrect (Slide Layer)

[image: image27.jpg]Which of th isulaanzech

X

Incorrect.

O e.sitene You did not select the correct response.

Continue





Try Again (Slide Layer)

[image: image28.jpg]Which of th iclichtar th.

X

Incorrect.

© B siane That is incorrect. Please try again.

Try Again





1.14 Safe Handling and Risks of Compressed Gas Cylinders/Dewars

[image: image29.jpg]Safe Handling and Risks of Compressed Gas Cylinders/Dewars

Potential risks of improper handling/use of
cylinders/Dewars include:

+ Explosion and fire

+ Leaking dangerous chemicals causing

exposure health and/or fire hazards

Ensure the cylinder/Dewar s
+ Does not tip/fall over ’l

>

« Does not get heated

* Is not near an electrical circuit

* Does not have too much
vibration/motion

e




Notes:

Clip 14:

Now that you understand the hazards of compressed gases, you may have a better understanding of potential hazards of improperly using or handling compressed gas cylinders or Dewars. 

A gas cylinder is a high-pressure vessel used to store gases above atmospheric pressure. 

Compressed gas cylinders have the potential to explode or cause a fire if improperly used. If compressed gas cylinders leak, they can cause health or fire hazards. 

To reduce the risk of these hazards, ensure the cylinder or Dewar does not tip or fall over, does not get heated as this could cause an explosion, is not near an electrical circuit and does not have too much vibration or motion that could cause damage or cracks in the shell. 

Please click on the video.
1.15 Labeling

[image: image30.jpg]Labeling

Labeled cylinder/Dewar with the proper gas and hazard
information

Storage areas must be labeled with precautionary signs

Gas cabinets must be labeled
Empty cylinders or Dewars must be labeled

Labels should not be readily removable
Do not rely on color coding of cylinders/Dewars

COMPRESSED A
GAS





Notes:

Clip 15:

Compressed Gas Cylinders must be properly labeled with name of the gas and the hazard information. 

Storage areas must be labeled with precautionary signs such as “Storage of flammable, oxidizer or toxic materials” as applicable.

Gas cabinets must be labeled as “Compressed Gas” along with the contents and hazards. 

Empty cylinders or Dewars must be labeled as “Empty” and stored separate from full cylinders or Dewars. 

Labels should not be readily removable. 
1.16 Storage of Compressed Gas Cylinders/Dewars

[image: image31.jpg]Storage of Compressed Gas Cylinders/Dewars

Properly Store:

+ Keep compressed gas cylinders separated by
hazard class and ensure non-compatible gases are
not stored together in the same area

+ Store cylinders/Dewars upright and secure them
+ Store with safety caps in place
+ Donot store with a regulator in place

+ Storeinadry, well-ventilated areawhere there is
not arisk of physical damage

« Combustibles must be kept a minimum of 10 feet
from compressed gas containers




Notes:

Clip 16:

Compressed Gas Cylinders/Dewars must be properly stored when not in use. 

Compressed gas containers must be separated from each other by hazard class of their contents. Do not store non-compatible gases such as flammable and oxidizers together in the same area.

Store cylinders upright and secure them with a chain, strap or cable to a stationary building support or store them in a rack, case or cylinder cart to prevent cylinders from tipping or falling. 

Ensure the cap is in place to protect the valve stem when not in use. 

Never store cylinders or Dewars with the regulator in place. If a regulator fails, the entire contents of the cylinder or Dewar and associated energy may be uncontrollably discharged. 

Never plug, remove or tamper with any pressure relief device. Under normal conditions, these containers will periodically vent the product. 

Store cylinders or Dewars only in a dry, well-ventilated area away from extreme temperatures, corrosive chemicals or fumes, combustibles or incompatible materials flames, sparks or any source of heat or ignition.

Place cylinders or Dewars in a location where they will not be subject to mechanical or physical damage, heat or electrical circuits to prevent possible explosion or fire.

Lastly, combustibles must be kept a minimum of 10 feet from compressed gas containers and systems. 

1.17 Transporting Compressed Gas Cylinders/Dewars

[image: image32.jpg]Transport cylinders/Dewars in the upright position with safety caps installed

Use 3 cart designed for moving cylinders/Dewars
Never roll, dragor slide cylinders/Dewars
Never transport cylinders with regulators in place

Move only one cylinder/Dewar at atime

Only ship and transport cylinders/Dewars by authorized
carrier in full compliance with all Dangerous Goods
transportation requirements - Never in your personal vehicle ‘




Notes:

Clip 17:

Transport cylinders or Dewars in an upright position with safety caps installed. Use a cart designed specifically for moving cylinders or Dewars. 

Do not roll, drag or slide cylinders or Dewars along the floor.

Never transport cylinders or Dewars with regulators in place.

Only one cylinder or Dewar should be handled or moved at a time. 

Only ship and transport cylinders or Dewars by authorized carrier in full compliance with all Dangerous Goods transportation requirements. Never transport cylinders or Dewars in your personal vehicle. 
1.18 Personal Protective Equipment (PPE)

[image: image33.jpg]Personal Protective Equipment (PPE)

bes
bolicable based on SDS)

ryogenic gases in
oggles/elasses




Notes:

Clip 18:

Always wear proper personal protective equipment based on the safety data sheet for the specific gas when handling compressed gas cylinders or Dewars. 

Avoid Skin Contact: When handling gases that are harmful to the skin, protective gloves and/or aprons must be worn to prevent skin contact. Choose clothing made of materials that resist penetration or damage by the compressed gas based on the hazards of the gas. 

Eye and Face Protection: Workers must wear safety goggles or glasses when handling and using compressed gases. In some cases, such as use of cryogenic gases or cylinder hook ups where the risk of injury to the face exists, a face shield should be worn in addition to safety goggles or glasses.

Foot Protection: When moving cylinders or Dewars that have the potential to cause foot injuries, safety shoes must be worn.
1.19 What are the potential risks of improperly handling a compressed gas cylinder or Dewar? 

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image34.jpg]What are the potential risks of improperly handling a compressed gas
cylinder or Dewar?

() . Exposure to hazardous chemicals

(@) D.Allofthe above

St





	Correct
	Choice

	 
	A. Fire



	 
	B. Explosion

	 
	C. Exposure to hazardous chemicals

	X
	D. All of the above


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 19: Now that we have covered how to use, handle, store and transport compressed gases, lets check your understanding. Please answer the following questions. 

You are given 3 attempts to answer 80% of the questions correctly. 

Clip 19.1: What are the potential risks of improperly handling a compressed gas cylinder or Dewar? 

Clip 19.2: That is correct. Fire, explosion and exposure are risks of improperly handling compressed gas cylinders or Dewars. 

Clip 19.3: That is incorrect, please try again. 

Clip 19.4: That is incorrect, the correct answer is D, all of the above. 
Correct (Slide Layer)

[image: image35.jpg]What are b tantial ciclke af L hrhandl sed gas

cylinder o @

Correct

O B.Expio That's right! You selected the correct response.

Continue





Incorrect (Slide Layer)

[image: image36.jpg]What are
cylinder o

) AFire

sed gas

Incorrect.

You did not select the correct response.

Continue





Try Again (Slide Layer)

[image: image37.jpg]What are thanatantial ricke of i I handli sed gas

cylinder o ®

Incorrect.

O B.Exglo Thatis incorrect. Please try again.

Try Again





1.20 What should you NOT do when storing compressed gas cylinders? 

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image38.jpg]What should you NOT do when storing compressed gas cylinders?

() A Secure with chainor strap

() 8.Separate cylinders from each other based on hazard class of the contents
(®) C.Keepregulators in place

() D.Ensure caps are in place




	Correct
	Choice

	 
	A. Secure with chain or strap


	 
	B. Separate cylinders from each other based on hazard class of the contents

	X
	C. Keep regulators in place

	 
	D. Ensure caps are in place


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 20: What should you NOT do when storing compressed gas cylinders?

Clip 20.1: That is correct. Do not store with regulators in place. 

Clip 20.2: That is incorrect, please try again. 

Clip 20.3: That is incorrect, the correct answer is C. 
Correct (Slide Layer)

[image: image39.jpg]i = linders?
What shoybuan NOT da whan o,
() Asecur oot
O B.separ That's right! You selected the correct response.
®creen Continue
() D.Ensurecap -





Incorrect (Slide Layer)

[image: image40.jpg]What shoild NOT dawhan ctac d linders?

X

~
) A Securl
\ Incorrect.

B.Separ] You did not select the correct response.
C.Keep
Continue
() D.Ensurteep P





Try Again (Slide Layer)

[image: image41.jpg]What shold NOT dawhan ctac d linders?
() aseaur ncorrect
O B-Separ That is incorrect. Please try again.
@) cxeep
Try Again
() D.Ensurecap -





1.21 What must be on each compressed gas cylinder or Dewar? ​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image42.jpg]What must be on each compressed gas cylinder or Dewar?

() A Certain color for the type of gas
(®) 8.Label with gas content and hazard information
() C.instructions for how to handle

() D. Label with company/vendor address

Submit




	Correct
	Choice

	 
	A. Certain color for the type of gas


	X
	B. Label with gas content and hazard information  

	 
	C. Instructions for how to handle

	 
	D. Label with company/vendor address


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 21: What must be on each compressed gas cylinder or Dewar? 

Clip 21.1: That is correct. There must be a label with the gas content and hazard information. 

Clip 21.2: That is incorrect, please try again. 

Clip 21.3: That is incorrect, the correct answer is B, label with gas content and hazard information. 
Correct (Slide Layer)

[image: image43.jpg]+ b,

Correct

That's right! You selected the correct response.

Continue





Incorrect (Slide Layer)

[image: image44.jpg]+ b,

Incorrect.

You did not select the correct response.

Continue





Try Again (Slide Layer)

[image: image45.jpg]+ b,

Incorrect.

That is incorrect. Please try again.

Try Again





1.22 What should you NOT do when transporting compressed gas cylinders or Dewars? 

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image46.jpg]What should you NOT do when transporting compressed gas cylinders
or Dewars?

() ARoll,dragor slide cylinders
() 8.Transport wiith regulators in place
() . Transport cylinders in a personal vehicle

(@) D.Allofthe above




	Correct
	Choice

	 
	A. Roll​, drag or slide cylinders


	 
	B. Transport with regulators in place

	 
	C. Transport cylinders in a personal vehicle

	X
	D. All of the above


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 22: What should you NOT do when transporting compressed gas cylinders or Dewars? 

Clip 22.1: That is correct. You should not roll​, drag or slide cylinders, transport cylinders with regulators in place, transport cylinders in a personal vehicle. 

Clip 22.2: That is incorrect, please try again. 

Clip 22.3: That is incorrect, the correct answer is D, all of the above. 
Correct (Slide Layer)

[image: image47.jpg]What shoild NOT daahan -+ d

cylinders
or Dewar: @
(O ARralld oot
O B.Trany That's right! You selected the correct response.
() c.Trans
Continue
(®) D.All of trreaor





Incorrect (Slide Layer)

[image: image48.jpg]What shoild NOT dauhan b i o cylinders
or Dewar: ®

Incorrect.

You did not select the correct response.

Continue





Try Again (Slide Layer)

[image: image49.jpg]What shoild NOT daahan -+ "l

cylinders
or Dewar: ®
® sl il
O B.Trans That is incorrect. Please try again.
() c.Trans
Try Again
(®) D.All of trreaor





1.23 Engineering Controls for Compressed Gases

[image: image50.jpg]Engineering Controls for Compressed Gases

+ Hazardous compressed gas cylinders in cleanrooms are
typically installed in gas cabinets designed for this
purpose

+ Gas cabinets have leak detection systems that are
continuously monitored and display both visua
and audible alarms

+ Ifaleakis detected, flow from the gas cylinder
automatically shuts off

* All leaks are vented out of the building





Notes:

Clip 23:

Hazardous gases in cleanrooms are typically installed in controlled gas cabinets that are specifically designed for this purpose. Only qualified staff are allowed to change out the cylinders. Gas cabinets have leak detection systems that are continuously monitored. It displays both visual and audible alarms, and immediately shuts off the flow of the gas if a leak is detected. Leaks from gas cabinets are vented out of the building. 
1.24 Emergency Response

[image: image51.jpg]



Notes:

Clip 24:

If you suspect a leak, notify security and the lab manager IMMEDIATELY. If the leak detection system has activated, promptly evacuate the area and inform others to leave the area. Once the area has been evacuated, notify security.
1.25 Untitled Slide

[image: image52.jpg]Hazardous gases with physical and chemical hazards are used and
stored in our work areas. Ensure to use proper handling, storage and
transport of compressed gas cylinders.

Hazardous gases in cleanrooms are typically installed in specially-
designed gas cabinets with controls to mitigate hazards and leaks.

Al gas change-outs and system maintenance will ONLY be done by a

qualified personnel.

Gas cabinets have leak detection systems that include both visual
displays and audible alarms. f a leakis suspected or an alarm sounds
~ leave the cleanroom immediately.

Overall- be familiar with the SDS, follow the SOP and wear PPE when
‘working with compressed gases.





Notes:

Clip 25:

In summary, ensure to use proper handling, storage and transport of compressed gas cylinders. You have now been informed of the hazards associated with compressed gases and the engineering and administrative controls in place to reduce the hazards. Hazardous compressed gases in cleanrooms typically are installed in specially-designed gas cabinets with controls to mitigate hazards and leaks. These cabinets have leak detection systems that include both visual and audible alarms. If a leak is suspected or an alarm sounds, leave the cleanroom immediately. 

As a final takeaway, please familiarize yourself with the safety data sheets for each of the compressed gases that you work with or are in your work area. Being familiar with the physical characteristics of the gases will help you be prepared in the event of an emergency. Be sure to follow standard operating procedures, wear PPE, and follow strict safety practices when working with or nearby compressed gases.
1.26 Who is permitted to change inert gas cylinders in the gas cabinet?​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image53.jpg]Who is permitted to change inert gas cylinders in the gas cabinet?

() AAnyone, because it s inert
(®) 8.Qualified personnel
() c.Labmanagers

() D.usersinthe lab

St





	Correct
	Choice

	 
	A. Anyone, because it is inert​


	X
	B. Qualified personnel

	 
	C. Lab managers

	 
	D. Users in the lab


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 26: Now that we have covered engineering controls, gas alarms and emergency response. Please answer the following questions. 

You are given 3 attempts to answer 80% of the questions correctly. 

Who is permitted to change inert gas cylinders in the gas cabinet?​

Clip 26.1: That is correct. Only qualified personnel are permitted to change ANY gas cylinder, regardless of hazard class. 

Clip 26.2: That is incorrect, please try again. 

Clip 26.3: That is incorrect, the correct answer is B, Qualified personnel. 
Correct (Slide Layer)

[image: image54.jpg]Who is pepsaittad ta chanaa inart lindare in th binet?
O Anne comee
@) &.qual That's right! You selected the correct response.
OcLab
Continue
() D.User:





Incorrect (Slide Layer)

[image: image55.jpg]Who is pepmittad tach inart lindars in th hinet?

X

Incorrect.

You did not select the correct response.

Continue





Try Again (Slide Layer)

[image: image56.jpg]Who is pepmittad tach: inact lindare in th, hj

X

Incorrect.

net?

® 5.qui That is incorrect. Please try again.

Try Again





1.27 What should you do if the leak detection system has been activated? ​

 (Multiple Choice, 10 points, 3 attempts permitted)

[image: image57.jpg]What should you do if the leak detection system has been activated?

() A Keepworking and wait for security to arrive.
() B.Notify security to come to the lab and keep working
(®) C.stopwhat you are doing and evacuate.

() D.Notify EHS and your manager and keep working




	Correct
	Choice

	 
	A. Keep working and wait for security to arrive.


	 
	B. Notify security to come to the lab and keep working. 

	X
	C. Stop what you are doing and evacuate. 

	 
	D. Notify EHS and your manager and keep working.  


Feedback when correct:

That's right!  You selected the correct response.

Feedback when incorrect:

You did not select the correct response.

Notes:

Clip 27: What should you do if you suspect a leak? ​

Clip 27.1: That is correct. Stop what you’re doing and evacuate. 

Clip 27.2: That is incorrect, please try again. 

Clip 27.3: That is incorrect, the correct answer is C, Stop what you are doing and evacuate. 
Correct (Slide Layer)

[image: image58.jpg]What shol

Correct

That's right! You selected the correct response.

Continue

ctvated?

T





Incorrect (Slide Layer)

[image: image59.jpg]What shold Anif tha lasl daract tam has b ctivated?

X

Incorrect.

You did not select the correct response.

Continue

o





Try Again (Slide Layer)

[image: image60.jpg]What shol

Incorrect.

That is incorrect. Please try again.

Try Again

ctvated?

T





1.28 Results Slide

 (Results Slide, 0 points, 1 attempt permitted)

[image: image61.jpg]Your Score:

Passing Score:

Results

5¢Resuits ScorePercentaés (%Results ScorePoints
sspoints)

S6Resuits PassPercentssas (3Results PassPointss
points)

Result:





	Results for

	1.11 Which of these gases is an inert gas?​

	1.12 Which of the following compressed gases is the most flammable and pyrophoric?​

	1.13 Which of these gases is lighter than air?​

	1.19 What are the potential risks of improperly handling a compressed gas cylinder or Dewar? 

	1.20 What should you NOT do when storing compressed gas cylinders? 

	1.21 What must be on each compressed gas cylinder or Dewar? ​

	1.22 What should you NOT do when transporting compressed gas cylinders or Dewars? 

	1.26 Who is permitted to change inert gas cylinders in the gas cabinet?​

	1.27 What should you do if the leak detection system has been activated? ​


	Result slide properties
	

	Passing

Score
	80%


Success (Slide Layer)

[image: image62.jpg]Results

5¢Resuits ScorePercentaés (%Results ScorePoints

Your Score: S points]
PaSSing SCOre: :j:ts;\urussr’ercem%% (%Results.PassPoints%.

Result:

/  Congratulations, you passed.





Failure (Slide Layer)

[image: image63.jpg]Results

5¢Resuits ScorePercentaés (%Results ScorePoints

Your Score: S points]
PaSSing SCOre: :j:ts;\urussr’ercem%% (%Results.PassPoints%.

Result:

X Youdidnot pass.





1.29 Thank you!

[image: image64.jpg]Thank you!

If you have any questions regarding the material provided in
this training, reach out to EHS for additional details.

arvrehs training@fb.com

ou may now close this training window.
The systemwill record your progress.




Notes:

Clip 29:

Thank you for taking this training on Compressed Gas Safety. If you have any questions regarding the material provided in this training, reach out to EHS for additional details. 


Published by Articulate® Storyline www.articulate.com

